
More Halon Info from H3R Website http://www.H3R.com 

        1211-1301 AVIATION HALON FIRE EXTINGUISHERS

                  FREQUENTLY ASKED QUESTIONS

                     REVISED APRIL 2, 1999

I. WHAT IS 1211-1301 HALON? 

     Halon 1211 and 1301 or "Halon Blend" are liquefied compressed gasses which stop the spread of fire by chemically interrupting combustion. Halons are odorless, colorless, electrically nonconductive, leave no residue after use and are "people safe." 

     The halon blend is far superior to the 1211 Halon propelled by nitrogen because it generates its own pressure so that it does not change even if the extinguisher is almost empty. 

II. IS IT LEGAL TO MANUFACTURE, BUY OR SELL HALON 1211-1301? 

     Effective April 6, 1998, the manufacture of the Halon 1211-1301 blend is prohibited (Federal Register, 63FR 11084 dated March 5, 1998) except for aviation fire protection, provided that the owner at the time of disposal, if there is any halon remaining in the unit, properly returns the unit to the manufacturer for the recycling of the halon. 

     Therefore, effective April 6, the Halon 1211-1301 blend will only be sold "for aviation use only" in the United States. 

     The rule does not prohibit: 

     1) The sale or use of halon blends produced prior to April 6, 1998. 

     2) Halon 1211 propelled by nitrogen. 

     3) Halon 1211-1301 outside the United States. 

III. HOW DOES 1211-1301 HALON WORK? 

     Fire needs three elements to prosper; namely fuel, oxygen and heat. The most common extinguishing agents like water, carbon dioxide, dry chemical and foams attack the fire physically, deprive the fire of one or more of the three critical elements needed for propagation. 

     Halon differs from all other extinguishing agents in the way it puts out the fire. It offers some of water's cooling effect and some of carbon dioxide's smothering action, but its essential extinguishing technique lies in its capacity to chemically react with the fire's components. It actually interrupts the chain reaction of fire - a process known as "chain breaking"

III.B. CERTIFICATES OF CONFORMANCE.

     This is to certify that the following 1211-1301 Halon Fire Extinguishers are rated and listed by Underwriter's Laboratory.

     These units meet A.N.S.I./UL Standards 711 and 1093 as tested and are listed by Underwriter's Laboratory.

                  Model #     RT A400   RT A600    RT A1200

                U.L Rating    2B:C      2B:C       5B:C

                Agent Weight  14oz      1 lb 3oz   2½ lb 

     The above units meet all requirements in Advisory Circular 20 - 42C, "Hand Held Extinguishers for Aircraft," and do not require an 8130 - 3, since it is not a manufactured aircraft part.

IV. WHAT ARE THE ADVANTAGES OF HALON BLEND OVER HALON 1211? 

          A. Studies conducted by Factory Mutual (in 1975) demonstrated that the blend of halon 1211 and 1301 is much more effective than either 1211 or 1301 alone. The optimum blend of 1211 and 1301 possesses up to 50% more fire-kill capability, than 1211 alone. 

          B. Less leakage. 1211-1301 Blended f/e maintain their pressure when used.  Since the Halon molecule is larger than the Nitrogen molecule, the blended units experiences less leakage around the valve and "O" rings. 

          C. The Halon 1211-1301 f/e does not require a gauge, whereas the Halon 1211 f/e requires a gauge and ongoing maintenance and recharging.

V. HOW SAFE IS 1211-1301 HALON? 

     Extensive toxicity evaluations have been compiled by nationally recognized US Medical laboratories & institutions on Halon 1301 and 1211. These evaluations have shown that Halon 1301 is the safest extinguishing agent available, and that Halon 1211 is the second safest. 

     Dual halon concentrations of about 5% by volume in air are adequate to extinguish fires of most combustible materials. This concentration is equivalent to emptying twelve (12) 2.5 lb units in a closed room of 1000 cubic feet, which would be highly unlikely. 

VI. IS A "GAUGED UNIT" REQUIRED BY THE FAA? 

     A fax received from the FAA along with excerpts from AC 20-42C and 25.851 clearly indicate that a gauge is not a requirement on any type of aircraft. The fax response states:

     "There should be no problem with an extinguisher that is U.L approved and has no gauge for extinguishant capacity, provided that the weight tolerance for the extinguishant is known." 

VII. HOW SHOULD THE HALON BLEND BE INSPECTED AND MAINTAINED? 

     In FAA Advisory Circular 20-42C dated 3/7/84 titled "Hand Held Extinguishers for Use in Aircraft", it states: 

          "Disposable type fire extinguishers should be maintained and inspected in accordance with the nameplate instructions"

     The nameplate instructions are: 

          "Inspect monthly or more frequently. Ensure nozzle is not obstructed and safety seal is intact. To be installed, inspected and maintained in accordance with NFPA no. 10. 

          Return to manufacturer... if gross weight is below 1420 grams" (2½ lb. f/e gross weight).

     NFPA no.10 states in Chapter 4 "Inspection, Maintenance, and Recharging" the following: 

          "Inspection is a "quick check" that an extinguisher is available and will operate. It is intended to give reasonable assurance that the extinguisher is fully charged and operable. This is done by seeing that it is in its designated place, that it has not been actuated (discharged) or tampered with, and that there is no obvious physical damage or condition to prevent operation... Determine fullness by weighing or "hefting." 

          "Extinguishers shall be subjected to maintenance not more than one year apart ... During annual maintenance..., such extinguisher shall be thoroughly examined externally in accordance with the applicable items of 4-4.2(a) mechanical parts.

     Regarding RECHARGING, the 1211-1301 HALON requires no recharging. 

VIII. Advisory Circular 20-42C "Hand Fire Extinguisher for aircraft" 

     These excerpts relating to 1211-1301 Halon are taken from the above mentioned AC which "provides methods acceptable to the Administrator for showing compliance with the hand fire extinguisher provisions in Parts 25, 29, 91, 121, 125, 127, and 135 of the FAR." 

          "For occupied spaces on aircraft, Halon 1211 extinguishers should not be less than 2 1/2 pounds capacity. These extinguishers should have a minimum 5 B:C rating; not less than 8 seconds effective discharge time; not less than a 10 foot range..." 

          "For occupied spaces on aircraft, Halon 1301 extinguishers should have a minimum 2B:C rating, and hould have an effective discharge time of not less than 8 seconds." 

          "Halon fire extinguishing agents approved for use include ... a combination of the two (Halon 1211-1301)." 

          "Halon 1211 is a multipurpose, Class A, B, C rated agent effective against flammable liquid fires. Halon 1301 offers limited Class A capability when used in portable fire extinguishers. 

          "In accordance with Section 21.305(d) of the FAR, the FAA accepts hand held extinguishers approved by Underwriters' Laboratories...". Also, in accordance with Section 25.851 (601(b1) "An approved type fire extinguisher includes those approved by the Underwriter's Laboratories, Inc., Factory Mutual, Underwriter's Laboratories of Canada..." 

          "Nonrefillable disposable fire extinguishers (1211-1301) are exempt from the periodic hydrostatic test requirements." 

Advantages of Using Halogenated Agent Extinguishers 

          " ...1211-1301 is similar to CO2 in that it is suitable for use in cold weather and leaves no residue." 

          " ...1211-1301 is three times as effective as a CO2 extinguisher having equal weight of agent." 

          " ...Halon 1211 and Halon 1301 leaves no chemical residue behind to contaminate or corrode aircraft parts or surfaces." 

          "Other advantages of ...1211-1301 are lower cold shock characteristics on electronic equipment, no degradation of visual acuity, and lower pressure." 

...\aviation\buildrv6\halon.faq

